## Sheet1
Here's a legend for the UTMMS data columns.
TIMESTAMP | RECORD | Batt_volt_Min | PTemp | AirTemp_Avg | RH_Avg | DewPt_Avg | Wind_Speed_m_s | Wind_Direction_deg | Wind_Direction_STD | WindGust_at_15m_Max | WindSpeed_at_2m_Avg | WindSpeed_at_2m_Max | WindSpeed_at_10m_Avg | WindSpeed_at_10m_Max
|  |  |  | This is the reference air temperature | Relative humidity in % | The dew point temperature | Average wind speed as measured at 15m above ground | Wind direction as measured at 15m above ground | The standard deviation of the wind speed as measured at 15m above ground | Wind gust speed as measured at 15m above ground (max achieved for 3 consecutive seconds) | Wind speed as measured at 2m above ground | Wind gust speed as measured at 2m above ground (max achieved for 3 consecutive seconds) | Wind speed as measured at 10m above ground | Wind gust speed as measured at 10m above ground (max achieved for 3 consecutive seconds)
Stn_Baro_kpa_Avg | MSL_Baro_kpa_Avg | Precip_mm_Tot | RainRate_hrmax_Max | RainRate_hrmax_TMx | CO2_conc_Avg | CO2_conc_Std | SR01up_Avg | SR01down_Avg | IR01up_Avg | IR01down_Avg | NR01TC_Avg | NR01TK_Avg | NetRS_Avg | NetRl_Avg
Barometric pressure at the station (measured at 133.6m above sea level) | Barometric pressure adjusted for MSL (mean sea level) | Total precipitation | Peak rate of rainfall | Time of occurrence of peak rainfall | Average CO2 concentration | Standard deviation of the CO2 concentration | Incoming shortwave radiation | Outgoing shortwave radiation | Incoming longwave radiation | Outgoing longwave radiation | Temperature of the radiation sensor in Celcius | Temperature of the radiation sensor in Kelvin | Net shortwave radiation | Net longwave radiation
Albedo_Avg | UpTot_Avg | DnTot_Avg | NetTot_Avg | IR01upCo_Avg | IR01downCo_Avg | VWC_20cm-100cm_Avg | BulkEC_20cm-100cm_Avg | SoilTemp_20cm-100cm_Avg | SwMatricPot_Tension_Avg | SwMatricPot_Temp_Avg
Average albedo | Upfacing total radiation (incoming long+shortwave) | Downfacing total radiation (outgoing long+shortwave) | Net total radiation (SWin-SWout+LWin-LWout) | Incoming corrected longwave radiation | Outgoing corrected longwave radiation | Volumetric water content by depth below surface | Bulk electroconductivity by depth below surface | Soil temperature by depth below surface | Soil water matric potential | Soil temperature 5cm below surface

## Sheet2
1 | TIMESTAMP | Always in EST, does not change for daylight savings time | Campbell Scientific CR1000X Logger
2 | RECORD | Sequential record number since last program update | Campbell Scientific CR1000X Logger
3 | Batt_volt_Min | Diagnostic field for battery voltage | Campbell Scientific CR1000X Logger
4 | PTemp | Diagnostic field for battery voltage | Campbell Scientific CR1000X Logger
5 | AirTemp_Avg | This is the reference air temperature, measured at 1.3m above ground | Rototronic HC2-S3
6 | RH_Avg | Relative humidity in % measured at 1.3m above ground | Rototronic HC2-S4
7 | DewPt_Avg | The dew point temperature | Rototronic HC2-S5
8 | Wind_Speed_m_s | Average wind speed as measured at 15m above ground. | RM Young 86004 Heated Ultrasonic Anemometer
9 | Wind_Direction_deg | Wind direction as measured at 15m above ground | RM Young 86004 Heated Ultrasonic Anemometer
10 | Wind_Direction_STD | The standard deviation of the wind speed as measured at 15m above ground | RM Young 86004 Heated Ultrasonic Anemometer
11 | WindGust_at_15m_Max | Wind gust speed as measured at 15m above ground (max achieved for 3 consecutive seconds) | RM Young 86004 Heated Ultrasonic Anemometer
12 | WindSpeed_at_2m_Avg | Wind speed as measured at 2m above ground | ORA Wind Speed Cup Anemometer
13 | WindSpeed_at_2m_Max | Wind gust speed as measured at 2m above ground (max achieved for 3 consecutive seconds) | ORA Wind Speed Cup Anemometer
14 | WindSpeed_at_10m_Avg | Wind speed as measured at 10m above ground | ORA Wind Speed Cup Anemometer
15 | WindSpeed_at_10m_Max | Wind gust speed as measured at 10m above ground (max achieved for 3 consecutive seconds) | ORA Wind Speed Cup Anemometer
16 | Stn_Baro_kpa_Avg | Barometric pressure at the station (measured at 133.6m above sea level) | Vaisala PTB110 Barometer
17 | MSL_Baro_kpa_Avg | Barometric pressure adjusted for MSL (mean sea level) | Vaisala PTB110 Barometer
18 | Precip_mm_Tot | Total precipitation | Texas Electronics TR-525M heated tipping bucket gauge
19 | RainRate_hrmax_Max | Peak rate of rainfall | Texas Electronics TR-525M heated tipping bucket gauge
20 | RainRate_hrmax_TMx | Time of occurrence of peak rainfall | Texas Electronics TR-525M heated tipping bucket gauge
21 | Snow_Depth_m_Avg | Snow depth in meters. Measured by a SR50A sonic ranger sensor, this data requires some processing to be valid - for example subtracting the baseline (which is typically the grass height) before snowfall, spikes should also be eliminated | Campbell Scientific SR50A Sonic Ranging Sensor
22 | SR50A_SignalQuality_Avg | Diagnostic for quality of sonic ping return (0 Not able to read distance 152-210 Good measurement quality numbers 210-300 Reduced echo signal strength 300 to 600 High measurement uncertainty) | Campbell Scientific SR50A Sonic Ranging Sensor
23 | SnowFall_past6h |  | Campbell Scientific SR50A Sonic Ranging Sensor
24 | SnowFall_past24h |  | Campbell Scientific SR50A Sonic Ranging Sensor
25 | CO2_conc_Avg | Average CO2 concentration | Vaisala GMP252 CO2 Sensor
26 | CO2_conc_Std | Standard deviation of the CO2 concentration | Vaisala GMP252 CO2 Sensor
27 | SR01up_Avg | Incoming shortwave radiation | Hukseflux NR01 Net Radiation Sensor
28 | SR01down_Avg | Outgoing shortwave radiation | Hukseflux NR01 Net Radiation Sensor
29 | IR01up_Avg | Incoming longwave radiation | Hukseflux NR01 Net Radiation Sensor
30 | IR01down_Avg | Outgoing longwave radiation | Hukseflux NR01 Net Radiation Sensor
31 | NR01TC_Avg | Body temperature of the radiation sensor in Celcius | Hukseflux NR01 Net Radiation Sensor
32 | NR01TK_Avg | Body temperature of the radiation sensor in Kelvin | Hukseflux NR01 Net Radiation Sensor
33 | NetRS_Avg | Net shortwave radiation | Hukseflux NR01 Net Radiation Sensor
34 | NetRl_Avg | Net longwave radiation | Hukseflux NR01 Net Radiation Sensor
35 | Albedo_Avg | Calculated albedo | Hukseflux NR01 Net Radiation Sensor
36 | UpTot_Avg | Total incoming radiation | Hukseflux NR01 Net Radiation Sensor
37 | DnTot_Avg | Total outgoing radiation | Hukseflux NR01 Net Radiation Sensor
38 | NetTot_Avg | Net total radiation | Hukseflux NR01 Net Radiation Sensor
39 | IR01upCo_Avg | Corrected incoming longwave radiation | Hukseflux NR01 Net Radiation Sensor
40 | IR01downCo_Avg | Corrected outgoing longwave radiation | Hukseflux NR01 Net Radiation Sensor
41 | VWC_20cm_Avg | Volumetric water content at 20cm depth | METER Group 5TE sensor
42 | VWC_40cm_Avg | Volumetric water content at 40cm depth | METER Group 5TE sensor
43 | VWC_60cm_Avg | Volumetric water content at 60cm depth | METER Group 5TE sensor
44 | VWC_80cm_Avg | Volumetric water content at 80cm depth | METER Group 5TE sensor
45 | VWC_100cm_Avg | Volumetric water content at 100cm depth | METER Group 5TE sensor
46 | BulkEC_20cm_Avg | Bulk electroconductivity at 20cm depth | METER Group 5TE sensor
47 | BulkEC_40cm_Avg | Bulk electroconductivity at 40cm depth | METER Group 5TE sensor
48 | BulkEC_60cm_Avg | Bulk electroconductivity at 60cm depth | METER Group 5TE sensor
49 | BulkEC_80cm_Avg | Bulk electroconductivity at 80cm depth | METER Group 5TE sensor
50 | BulkEC_100cm_Avg | Bulk electroconductivity at 100cm depth | METER Group 5TE sensor
51 | SoilTemp_20cm_Avg | Soil temperature at 20cm depth | METER Group 5TE sensor
52 | SoilTemp_40cm_Avg | Soil temperature at 40cm depth | METER Group 5TE sensor
53 | SoilTemp_60cm_Avg | Soil temperature at 60cm depth | METER Group 5TE sensor
54 | SoilTemp_80cm_Avg | Soil temperature at 80cm depth | METER Group 5TE sensor
55 | SoilTemp_100cm_Avg | Soil temperature at 100cm depth | METER Group 5TE sensor
56 | SwMatricPot_Tension_Avg | Soil water matric potential (Kpa) at 5cm below surface | TEROS21 Soil water potential sensor
57 | SwMatricPot_Temp_Avg | Soil temperature at 5cm below surface | TEROS21 Soil water potential sensor